MODEL: 	 PROJECT: 	 ITEM #: 	 QTY:

PRODUCT IMAGE STANDARD FEATURES - Heavy-Duty spout with double O-Ring construction and welded

shoulder for durability - High precision machining and polished nickel chromium finish - Color-coded handles - Optional wrist blade handles available - Full replacement parts available - Mounting kit included - Low Lead Compliance “L” Models meet California AB-1953 and Vermont S152 standards

11-400 SHOWN

ALSO AVAILABLE IN LOW LEAD BY ADDING “L” TO MODEL NUMBER

# SPECIFICATIONS

- 4” on center deck mount with 1/2” NPT male inlets

- Rough in: Two 7/8” round holes on 4” centers

- Flow rate: 2 GPM max

- Shipping weight: 3 lbs.

- Quantity per case: 20

APPROVED BY:

CERTIFICATIONS:

Due to our commitment to continued product improvement, specifications are subject to change without notice.

Printed in the USA

### Krowne Metal Corporation

100 Haul Rd. Wayne, NJ 07470 • Toll Free: (800) 631-0442 • Fax: (973) 872-1129

sales@krowne.com • www.krowne.com • www.facebook.com/KrowneMetal • www.twitter.com/KrowneMetal

Rev. 05/2012 No. 11-4XX

### MODEL: 	 PROJECT: 	 ITEM #: 	 QTY:

MODELS

## STANDARD SPOUTS

| Model Numbers | Ⓐ | Ⓑ | Ⓒ |
| --- | --- | --- | --- |
| 11-406 11-412 11-450* | 6” 12” 6” | 1 7/8” 2 5/8” 1 7/8” | 4 3/8” 5 1/8” 4 3/8” |

NOTE: Add “L” to end of Model Number for Low Lead Model

*Laundry Faucet includes spout adapter

## GOOSENECK SPOUTS

| Model Numbers | Ⓓ | Ⓔ | Ⓕ |
| --- | --- | --- | --- |
| 11-400 | 3 1/2” | 5 3/8” | 8” |

NOTE: Add “L” to end of Model Number for Low Lead Model

APPROVED BY:

DRAWING

### CERTIFICATIONS:

Due to our commitment to continued product improvement, specifications are subject to change without notice.

Printed in the USA

### Krowne Metal Corporation

100 Haul Rd. Wayne, NJ 07470 • Toll Free: (800) 631-0442 • Fax: (973) 872-1129

sales@krowne.com • www.krowne.com • www.facebook.com/KrowneMetal • www.twitter.com/KrowneMetal

Rev. 05/2012 No. 11-4XX