Model: 11-435L

Project:

Item #:	 Qty:

Date:	 Approved By:

4 - 3/8 "

2 - 5/8 "

4” Center Deck Mount Faucet with 4-1/2” Wide Double Bend Spout	Royal Series Plumbing

11-435L

DESCRIPTION

- 4” Center Deck Mount Faucet with 4-1/2” Wide Double Bend Spout, Polished Chrome Finish, 0.5GPM Aerator Installed

# STANDARD FEATURES

- ¼ Turn Ceramic Valves

- Durable Full Range Swing Spout with Double O-Ring Construction

- Lever Handles

- Warranty: 1 Year

| SPECIFICATIONS |  |
| --- | --- |
| Water Inlet | 1/2” NPT |
| Temp. Range | 40°F - 180°F |
| Rough In | 7/8” Round Holes on 4” Center |
| Flow Rate | 0.5 GPM |
| Material | Chrome Plated Brass |
| Weight | 3 lbs. |

PRODUCT COMPLIANCE

- ASME A112.18.1-2012/CSA B125.1-12

- NSF-61

- NSF/ANSI 372

- Meets ANSI A117.1 (ADA)

- California Proposition 65

4

8 - 3/8 "

4 - 1/2 "

6 - 7/8 "

WARNING: Plumbing connections should be made by qualified personnel who will observe all applicable plumbing, sanitary and safety codes.

Krowne Metal Corporation • 100 Haul Rd. Wayne, NJ 07470 • Toll Free: (800) 631-0442 • Fax: (973) 872-1129 • sales@krowne.com • krowne.com

Due to our commitment to continued product improvement, specifications are subject to change without notice.	Rev. 1/2020 • No. 11-435L