Model:  12-525L	 Item #: 	 Project:	 Qty:

Date: 	 Approved By:

4” Deck Mount Single Lever Faucet with Pop-Up Drain	Silver Series

DESCRIPTION

PRODUCT COMPLIANCE

- NSF-61 & NSF/ANSI 372

- ASME A112.18.1-2011/CSA B125.1-11 & NSF/ANSI 372

- Meets ANSI A117.1 (ADA)

- Massachusetts Approved

- CEC Approved

- 4” Deck Mount Single Lever Faucet with Pop-Up Drain, Polished Chrome Finish,

0.5 GPM Male Aerator Installed, 1.5 GPM Aerator Included

STANDARD FEATURES

- Ceramic cartridge valve

- All metal constuction pop-up drain included

- Single lever handle

- Red/blue color indicator

| SPECIFICATIONS |  |
| --- | --- |
| Water Inlet | 1/2” NPS Male w/ Copper Tubing |
| Temp. Range | 40°F - 180°F |
| Pressure | 20-120 PSI |
| Rough In | 7/8” Round Holes on 4” Center |
| Flow Rate | 0.5 GPM |
| Material | Brass Underbody |
| Finish | Polished Chrome |
| Weight | 2.5 lbs. |

Warranty: 1 year

4”

Pop-Up Drain

7 1/4”

5 1/2”

3”

1-1/2”

3”

4”

4”

6”

8 1/2”

WARNING: Plumbing connections should be made by qualified personnel who will observe all applicable plumbing, sanitary and safety codes. California Proposition 65 Warning

Krowne Metal Corporation • 100 Haul Rd. Wayne, NJ 07470 • P: (800) 631-0442 • customerservice@krowne.com • krowne.com

Due to our commitment to continued product improvement, specifications are subject to change without notice.	Rev. 04/2021 • No. 12-525L